Selection of Materials for Site Development Procedure

- Purpose To provide a framework on resource consumption.

- Scope All site development and improvement works undertaken by Lowestoft Town Council.

- Responsible Staff The allocated Project Lead will have day-to-day responsibility for the implementation of this procedure, reporting to the Town Clerk.

- Required actions prior to work commencing - Selection of materials must include consideration of sustainability from design stage and throughout the life cycle of products and projects, including disposal. - All orders must be precisely and accurately created in order to minimise waste. - A reduction is usage of materials is the priority. If materials are required, priority will be given to reusing existing materials. If this is not reasonably possible, then recycled material should be the next option considered. - Health and Safety and environmental laws must be complied with. - All work areas must be adequately supervised and kept in good order to minimise waste, risk of damage and contamination. - Vehicles and equipment must be turned off when not in use to conserve energy/fuel. - Timber – wherever practical, should be from a Forest Stewardship Council certified sustainable source. - Peat is not to be used, whether forming the whole or part of a soil conditioner. - All soil conditioners and mulches must be from recycled and renewable materials free from weeds, disease and fungal organisms, and created on site where practical. - All excess materials including from excavation and construction should be used in line with this policy preferably being retained on site where useful to do so. - All personnel must be made aware of their responsibilities to prevent unnecessary consumption of resources, reuse and recycle, including administrative use of paper and toner cartridges. - Any waste for recycling must be segregated from landfill waste. - All contractors and sub-contractors must comply with this procedure.

Published: 2 February 2021